Ini adalah Alat Uji Kerataan Mekanis, sebuah instrumen presisi yang dirancang untuk mengukur tingkat dan menganalisis penyebab ketidakrataan pada benang (yarn), roving, dan sliver. Alat ini merupakan perangkat fundamental untuk diagnostik dan kontrol kualitas di pabrik pemintalan (spinning mills), membantu meningkatkan kualitas produk akhir dan mengurangi pemborosan. Berikut adalah rincian spesifikasi teknis dan kemampuannya.

Instrumen ini menggunakan sistem pengukuran mekanis yang andal untuk menganalisis variasi massa sepanjang material. Pengujian dilakukan pada kecepatan konstan, dengan kecepatan keliling puli pemandu sekitar 670 mm/menit, untuk memastikan kondisi pengujian yang seragam. Sistem pendeteksi mekanisnya yang presisi, melibatkan sistem tuas dengan rasio 1:100 dan pemberat khusus, mampu mendeteksi ketidakrataan secara akurat. Untuk mengakomodasi berbagai diameter material, alat ini dilengkapi dengan dua pilihan lebar slot puli pemandu, yaitu 1.58mm dan 3.17mm.

Fitur utama yang membedakan instrumen ini adalah kemampuannya untuk menyediakan representasi visual dan statistik dari hasil pengujian melalui perekam kertas grafis (graphical chart recorder). Perekam ini menghasilkan diagram fisik dari profil kerataan material, yang sangat berharga untuk analisis mendalam. Operator dapat memilih antara dua kecepatan kertas perekam yang berbeda, yaitu "1.2 kali kecepatan spesimen" untuk gambaran umum atau "sepersepuluh kecepatan spesimen" untuk grafik yang lebih terperinci, memungkinkan identifikasi pola ketidakrataan periodik.

Dengan kemampuannya menganalisis benang, roving, dan sliver, alat ini menjadi alat diagnostik yang sangat kuat. Dengan mempelajari grafik yang dihasilkan, teknisi laboratorium dapat mengidentifikasi kemungkinan penyebab ketidakrataan yang berasal dari proses produksi sebelumnya (seperti dari mesin carding atau drawing). Tindakan perbaikan yang tepat sasaran dapat dilakukan untuk meningkatkan konsistensi proses, yang pada akhirnya mengarah pada peningkatan kualitas benang, pengurangan pemborosan, dan produk akhir yang superior.

This is a Mechanical Evenness Tester, a precision instrument designed to measure the degree and analyze the causes of unevenness in yarn, roving, and sliver. This device is a fundamental tool for diagnostics and quality control in spinning mills, helping to improve final product quality and reduce wastage. The following are its detailed technical specifications and capabilities.

This instrument utilizes a reliable mechanical measurement system to analyze mass variation along the length of the material. Testing is conducted at a constant speed, with a circumferential velocity of the idler pulley at approximately 670 mm/min, to ensure uniform testing conditions. Its precision mechanical detection system, involving a lever system with a 1:100 ratio and special hammer weights, is capable of accurately detecting unevenness. To accommodate various material diameters, the device is equipped with two idler pulley slot width options, 1.58mm and 3.17mm.

The key feature that distinguishes this instrument is its ability to provide a visual and statistical representation of the test results via a graphical chart recorder. This recorder produces a physical diagram of the material's evenness profile, which is invaluable for in-depth analysis. Operators can select between two different recording paper speeds, "1.2 times the speed of the specimen" for a general overview or "one-tenth the speed of the specimen" for a more detailed graph, allowing for the identification of periodic unevenness patterns.

With its ability to analyze yarn, roving, and sliver, this instrument serves as a very powerful diagnostic tool. By studying the generated graph, lab technicians can identify the likely causes of unevenness originating from previous production processes (such as from carding or drawing machines). Targeted corrective actions can then be taken to improve process consistency, which ultimately leads to improved yarn quality, reduced wastage, and a superior final product.